# HVAC Efficiency and Maintenance Checklist

Regular HVAC maintenance is crucial for ensuring your system runs efficiently, keeps your home comfortable, and helps you avoid costly repairs. This HVAC Efficiency and Maintenance Checklist provides a comprehensive guide to the tasks you should perform monthly, seasonally, and annually to keep your HVAC system in top condition.

## Monthly Maintenance

Consistent monthly maintenance helps prevent small issues from turning into bigger problems, ensuring your HVAC system operates at its best.

- Change air filters to maintain proper airflow and indoor air quality.

- Check thermostat settings to ensure your system is running efficiently.

- Clear debris from around the outdoor unit to allow for proper airflow.

- Inspect refrigerant lines for damage or leaks to catch issues early.

- Check the condensate drain line for clogs to prevent water damage.

- Vacuum air vents and registers to remove dust and debris.

- Test carbon monoxide detectors to ensure safe operation.

### AI Prompts:

- ChatGPT, what are the consequences of not changing air filters regularly?

- ChatGPT, how can I tell if my refrigerant lines are damaged or leaking?

- ChatGPT, what tools do I need to properly clean my air vents and registers?

## Seasonal Maintenance

Seasonal maintenance tasks help prepare your HVAC system for the demands of each season, ensuring optimal performance and efficiency.

### Spring:

- Schedule a professional tune-up for your air conditioner.

- Clean the evaporator and condenser coils to improve heat transfer.

- Check coolant levels to ensure proper operation.

- Inspect ductwork for leaks or damage to prevent energy loss.

### Summer:

- Monitor AC performance to catch any issues early.

- Clean or replace air filters more frequently during heavy use.

- Trim vegetation around the outdoor unit to maintain proper airflow.

- Check for unusual noises or odors that may indicate a problem.

### Fall:

- Schedule a professional tune-up for your furnace.

- Inspect and clean heating elements to ensure efficient operation.

- Test carbon monoxide detectors to ensure safe operation.

- Seal air leaks around windows and doors to prevent drafts.

### Winter:

- Monitor furnace performance to catch any issues early.

- Inspect and clean the chimney and flue to ensure proper ventilation.

- Insulate exposed pipes to prevent freezing and damage.

- Clean or replace air filters regularly during heavy use.

### AI Prompts:

- ChatGPT, what should I look for during a professional HVAC tune-up?

- ChatGPT, how can I safely clean my air conditioner's evaporator and condenser coils?

- ChatGPT, what are some signs that my ductwork may be leaking or damaged?

## Annual Maintenance

Annual maintenance tasks are best performed by a professional HVAC technician to ensure thorough inspections and repairs.

- Schedule a professional inspection and cleaning of your entire HVAC system.

- Lubricate moving parts to reduce friction and wear.

- Tighten electrical connections to ensure safe and efficient operation.

- Inspect the heat exchanger for cracks or damage.

- Check the blower motor and belt for wear and proper operation.

- Test the ignition system and safety controls.

- Calibrate the thermostat for accurate temperature control.

### AI Prompts:

- ChatGPT, what are the benefits of annual professional HVAC maintenance?

- ChatGPT, how can I find a reputable HVAC technician for annual maintenance?

- ChatGPT, what should I expect during a professional HVAC inspection and cleaning?